# TensionBudget — Full Mathematical Pipeline Documentation

Author: TensionBudget Research Team

Document version: Phase 13 / W7 (2026-08-05)

Purpose: Professor-ready derivation of every algorithm and formula in the bilateral upper-trapezius sEMG ergonomic surveillance system, from hardware acquisition to cloud-persisted ML feature vectors.

## Table of Contents

- Signal Acquisition & ADC Conversion

- Stage 2 — Digital Signal Pre-Processing

- Stage 3 — Amplitude Analytics

- Stage 4 — Composite Tension Budget Scoring

- Stage 5 — Spectral Fatigue Analysis (MDF / MNF)

- Stage 6 — Subjective Strain Elicitation (Borg CR-10)

- Stage 7 — 5-Minute Epoch Feature Vector (ML Target)

- Stage 8 — Cloud Persistence & Idempotent Upsert

- Full Pipeline Flow Diagram

- Parameter Reference Table

- Literature References

## 1. Signal Acquisition & ADC Conversion

### Hardware Setup

Two Arduino UNO R4 Minima microcontrollers, each paired with a BioAmp EXG Pill analog front-end, acquire bilateral trapezius surface EMG (sEMG) independently:

| Parameter | Value | Rationale |
| --- | --- | --- |
| Sampling rate |  | Nyquist limit safely above the passband ceiling |
| ADC resolution | 14-bit (UNO R4) | quantisation levels |
| Serial baud rate | 230,400 baud | Sufficient to stream 6-channel packets at without buffer overflow |
| Channels per unit | 6 transmitted, 2 used (A2) | LSL channel = Left trapezius, channel = Right trapezius |

### Raw-to-Voltage Conversion (Optional)

where ,  is the ADC reference voltage in Volts, and  is sample index. For ratiometric analyses (e.g., ), raw integer counts are used directly; voltage conversion is not required.

Note: The BioAmp EXG Pill contains its own differential instrumentation amplifier and analog gain stage before the ADC. Therefore  represents the amplified signal at the ADC input, not the raw skin-surface electrode potential.

## 2. Stage 2 — Digital Signal Pre-Processing

Each channel (Left, Right) is processed independently through a deterministic 6-stage pipeline. No cross-channel mixing occurs before the final asymmetry computation.

Pipeline order (offline mode — zero-phase):

### 2.1 Bandpass Butterworth Filter ()

Purpose: Remove sub- motion artifact / DC offset and above- noise and aliasing components, retaining the physiologically relevant sEMG band.

Design: 4th-order zero-phase Butterworth bandpass filter, implemented via scipy.signal.sosfiltfilt (offline) or sosfilt with persistent state  (live streaming).

The Butterworth transfer function in the -domain is determined by the design equation:

where  is the filter order and  is the critical frequency. For the bandpass design, two normalised critical frequencies are defined:

Zero-Phase (offline): Forward-backward filtering via sosfiltfilt achieves exactly zero group delay:

This doubles the effective attenuation roll-off: a 4th-order design becomes effectively 8th-order in stopband rejection after forward-backward application ().

Causal (live): sosfilt with persistent second-order-sections state  processes incoming chunks without introducing edge artifacts. Introduces group delay of  samples at mid-band, which is negligible at .

Parameters:

| Parameter | Value | Source |
| --- | --- | --- |
|  |  | De Luca (1997); Farina et al. (2002) |
|  |  | Nyquist-constrained: |
| Order | 4 | Standard EMG pre-processing |
| Architecture | Butterworth SOS | Numerically stable second-order section cascade |

Important Passband Limitation: De Luca (1997) and Farina (2002) specify a  passband, which requires . Our hardware is locked at , meaning signal power above  is excluded. All MDF/MNF values computed downstream are systematically lower than published population norms and must be interpreted as internal session trend indicators only — not compared against published absolute baselines.

### 2.2 Mains Interference Notch Filter ()

Purpose: Remove narrowband mains electrical interference at  (India/EU grid frequency).

Design: IIR notch filter (2nd-order all-pass minus unity) with quality factor . The transfer function is:

where the pole radius  controls bandwidth. At : bandwidth .

### 2.3 Full-Wave Rectification

Full-wave rectification reflects negative half-cycles into the positive domain. This is a mandatory preparatory step for the RMS envelope (Stage 2.4) but is explicitly bypassed for the spectral fatigue analysis (Stage 5). Rectification introduces strong harmonic distortion at DC, , , etc. — if Welch PSD estimation were applied to , the harmonic energy would completely invalidate MDF/MNF estimates.

### 2.4 RMS Amplitude Envelope

Purpose: Smooth the rectified signal into a physiologically interpretable amplitude envelope representing muscle activation intensity at each moment.

Formula (per sliding window of  samples):

where:

- ( window at )

- ( step   overlap between adjacent estimates)

- is the window index

### 2.5 Reference Voluntary Exertion (%RVE) Normalisation

Purpose: Convert absolute RMS amplitude (arbitrary ADC units) into a dimensionless percentage relative to each subject's individual maximum voluntary reference exertion.

Normalisation formula:

## 3. Stage 3 — Amplitude Analytics

### 3.1 Gap / Micro-Rest Detection

Detection rule: A contiguous run of consecutive RMS samples is classified as a gap if:

with minimum duration:

### 3.2 SUMA — Sustained Muscle Activity Detection

Detection rule: A SUMA event is any contiguous run where:

with minimum duration:

### 3.3 APDF — Amplitude Probability Distribution Function

Formula:

The  from the Active APDF (samples ) is the primary input to the bilateral Asymmetry Index.

## 4. Stage 4 — Composite Tension Budget Scoring

### 4.1 Exposure Index (EIndex)

Three-zone partition weights:

- Rest ():

- Low ():

- High ():

EIndex formula:

where  represents the proportion of time spent in each zone.

### 4.2 Short-SUMA Frequency Penalty

### 4.3 Bilateral Asymmetry Index

### 4.4 Composite Score — Bilateral Fusion & Floor Clamp

Step 1:

Step 2:  if , else

Step 3:

## 5. Stage 5 — Spectral Fatigue Analysis (MDF / MNF)

### 5.1 Welch's Power Spectral Density (PSD)

The PSD estimate  is calculated using the Welch method:

where  is the periodogram of the -th Hanning-windowed segment.

### 5.2 Median Power Frequency (MDF)

MDF is defined as the frequency satisfying:

### 5.3 Mean Power Frequency (MNF)

MNF is the power-weighted centroid:

### 5.4 OLS Fatigue Slope

The decline in MDF over time is modeled using a linear trend:

The slope  (Hz/min) indicates the rate of muscular fatigue.

## 6. Stage 6 — Subjective Strain Elicitation (Borg CR-10)

The subjective target variable  is mapped as:

where  is the 38-column feature vector generated every 5 minutes.

## 7. Stage 7 — Parameter Reference Table

| Parameter | Symbol | Value |
| --- | --- | --- |
| Bandpass low |  |  |
| Bandpass high |  |  |
| RMS window |  |  |
| Gap threshold |  |  |
| Rest threshold | — |  |
| High threshold | — |  |
| Slope threshold |  |  |
| Minimum |  |  |

This document is consistent with the source implementation in Phase 13 / W7.